ST6901

The crystal structure of [LutH+][HC(=O)B(C6F5)3-] was established with a Nonius Kappa

CCD FR590 single crystal X-ray diffractometer. A colorless prism measuring 0.60 x 0.24 x 0.20 mm3 was mounted on a glass capillary with paratone oil as adhesive.  Data was collected at 130(3)K. The crystal-to-detector distance was set to 31.5 mm and the exposure time was 180 seconds for each collected frame.  The scan width was 1.8o.   Data collection was 99.3% complete to 25o  in .  A total of  58919 partial and complete reflections were collected covering the indices, h = -47 to 47, k = -16 to 17,  l = -24 to 24.  9314 symmetry independent reflections resulted from integration with  hkl-SCALEPACK which applies a  multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr). The data in monoclinic space group  C 2/c was of average quality (Rint = 0.065). The structure was solved with direct methods within SIR97 and refined with SHELXL97. Scattering factors are from Waasmair and Kirfel. All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. Crystallographic data is provided in table 1.

The asymmetric unit contains two symmetry independent [LutH+][HC(=O)B(C6F5)3-] salt molecules. 8 of these salts fill the unit cell. The fluorides tend to exhibit a larger thermal motion than the carbon ring atoms. Some fluorides are forced into close contact (F9-F18 F20-F20’). N2 hydrogen bonds within the asymmetric unit to O4, N1 inter-molecularly to O2 of a symmetry related unit (table 2).

Table 1: Crystallographic data for [LutH+][HC(=O)B(C6F5)3-]

| Property | The structure at 130(2) K |
| --- | --- |
| Empirical Formula | C26H11B1F15N1O2 |
| Formula Weight | 665.17 |
| Temperature K | 130(2) |
| Wavelength Å | 0.71073 |
| Habit/color | Prism / colorless |
| Crystal System, space group | monoclinic, C 2/c (No.15) |
| Unit Cell Dimensions |  |
| a, Å b, Å c, Å , (deg.) | 39.4325(9) 14.2833(4) 20.3561(7) 116.8621(12) |
| Volume (Å3) | 10228.0(5) |
| Density Mg/m3 | 1.728 |
| Reflections Collected/Unique | 17004 / 9314 |
| Rint / R | 0.0655/ 0.0918 |
| Jm / completeness | 25o / 99.3% |
| Final R indices [I>2s(I)] |  |
| R1, wR2 | 0.0509, 0.1023 |
| R indices (all data) |  |
| R1,wR2 | 0.1169, *wR2 = 0.1269 |

Table 2.  Hydrogen bonds for shelxl [Å and °].

____________________________________________________________________________

D-H...A	d(D-H)	d(H...A)	d(D...A)	<(DHA)

____________________________________________________________________________

N(2)-H(2)...O(4)	0.88	1.90	2.774(3)	170.0

N(1)-H(1B)...O(2)#1	0.88	1.91	2.786(3)	171.2

____________________________________________________________________________

Symmetry transformations used to generate equivalent atoms:

#1 x,-y+1,z-1/2

Figure 1. ORTEP drawing of [LutH+][HC(=O)B(C6F5)3-] with thermal ellipsoids at their 50% probability level.

(a) Z. Otwinowsky, W. Minor, Methods Enzymol. 276, 307 (1997).

(b) S. Mackay, C. Edwards, A. Henderson, C. Gilmore, N. Stewart, K. Shankland, A. Donald,

University of Glasgow, Scotland, 1997.

A. Altomare, C. Burla, M. Camalli L. Cascarano, C. Giacovazzo, A. Guagliardi, A. G. G.

Moliterni, G. Polidori, R. Spagna, J. Appl. Cryst. 32, 115 (1999).

G, M. Sheldrick, SHELXTL97, University of Gottingen, Germany (1997).

D. Waasmaier, A. Kirfel, Acta Crystallogr. A. 51, 416 (1995).

Farrugia, L. J. Appl. Cryst. 1997, 30, 565