Crystal Structure Report for M Heinekey

by Werner Kaminsky

Sample Submitted by Sophia Tran 

ID – 05SDT096 and 05SDT096_b
X-ray Crystallography Laboratory

University of Washington

18. September 2015
Data Collection  started: 9/10/2015
Documentation finished: 9/18/2015
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

Two yellow prism, measuring 0.21 x 0.21 x 0.15 (0.08 x 0.07 x 0.05) mm3 were mounted on loops with oil.  Data were collected at 130K on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer (at 100K on a Bruker APEX II single crystal X-ray diffractometer), Mo-radiation.
Crystal-to-detector distance were 30 mm (40 mm) and exposure time were 70 (60) seconds per degree for all sets.  The scan width was 2o (0.5o on the APEXII).   Data collection was 99.5% (97.2%) complete to 25o  in (.  A total of  30304 (22796) partial and complete reflections were collected covering the indices, h = -11 to 11, k = -14 to 16,  l = -17 to 16 (h = -19 to 19, k = -16 to 17,  l = -20 to 19).  6108 (6051) reflections were symmetry independent and the Rint = 0.0462 (0.1137) indicated that the data was good.  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No.2) (P 21/c  (No. 14)). 

The Nonius data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

The APEXII data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Both structures exhibit quasi identical molecules (Figures 1 and 2), with the exception of slightly different t-butyl arrangements. The polymorphism is related to two different ways of C-H…O interactions. In the absence of donor atoms for proper hydrogen bonding, neither the CO nor the oxygens of the OCO pincer ligand are hydrogen bonding. However, two different packing mechanisms arise between the triclinic and monoclinic symmetries. The phenyl groups are coplanar and weak C-H..O interactions arise, building R22(8) {…H-C-C-O}2 coupling to each side of a phenyl. Two molecules are related by inversion in the triclinic case with two different dimer sequences, {…H3-C3-C2-O1}2 and {…H5-C5-C6-O2}2.
In the monoclinic case, two molecules are related by a twofold screw axis with one type of interaction, namely {…H3-C3-C2-O1…H5-C5-C6-O2}. The glide plane symmetry produces a second layer of complexes with approximately coplanar phenyl groups.
[image: image2.jpg]



Figure 1. ORTEP of triclinic 05sdt096_b with thermal ellipsoids at the 50% probability level.

[image: image3.jpg]



Figure 2. ORTEP of monoclinic 05sdt096 with thermal ellipsoids at the 50% probability level. 
The structures are of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
Table 1: Crystallographic data for the structures provided.

	Identification code
	05sdt096_b
	05sdt096

	Empirical formula 
	C23 H39 O3 P2 Rh
	C23 H39 O3 P2 Rh

	Formula weight 
	528.39
	528.39

	Temperature 
	130(2) K
	100(2) K

	Wavelength 
	0.71073 Å
	0.71073 Å

	Crystal system 
	Triclinic
	Monoclinic

	Space group 
	P -1
	P 21/c

	Unit cell dimensions
	a = 8.2917(7) Å= 100.698(4)°
	a = 14.9835(19) Å,= 90°

	
	b = 12.0229(8) Å, = 96.165(4)°
	b = 12.9130(18) Å,= 119.765(4)°

	
	c = 13.4306(9) Å, = 103.839(4)°
	c = 14.954(2) Å,  = 90°.

	Volume
	1261.17(16) Å3
	2511.6(6) Å3

	Z
	2
	4

	Density (calculated)
	1.391 Mg/m3
	1.397 Mg/m3

	Absorption coefficient
	0.824 mm-1
	0.828 mm-1

	F(000)
	552
	1104

	Crystal size
	0.21 x 0.21 x 0.15 mm3
	0.08 x 0.07 x 0.05 mm3

	Theta range for data collection
	2.56 to 28.30°.
	2.22 to 28.45°.

	Index ranges
	-11<=h<=11, -14<=k<=16, -17<=l<=16
	-19<=h<=19, -16<=k<=17, -20<=l<=19

	Reflections collected
	30304
	22796

	Independent reflections
	6108 [R(int) = 0.0462]
	6051 [R(int) = 0.1137]

	Completeness to theta = 25.00°
	99.5 % 
	97.2 % 

	Max. and min. transmission
	0.8864 and 0.8460
	0.9598 and 0.9367

	Refinement method
	Full-matrix least-squares on F2
	Full-matrix least-squares on F2

	Data / restraints / parameters
	6108 / 0 / 274
	6051 / 0 / 274

	Goodness-of-fit on F2
	1.046
	0.953

	Final R indices [I>2sigma(I)]
	R1 = 0.0365, wR2 = 0.0782
	R1 = 0.0560, wR2 = 0.1104

	R indices (all data)
	R1 = 0.0458, wR2 = 0.0822
	R1 = 0.1013, wR2 = 0.1316

	Largest diff. peak and hole
	0.781 and -0.922 e.Å-3
	3.204 and -1.086 e.Å-3


� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

