Crystal Structure Report for 

Ghodrat Mahmoudi
ID – 205A
X-ray Crystallography Laboratory

University of Washington

14. February 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

From a batch of yellow crystals was taken a inclusion free prism, measuring 0.2 x 0.03 x 0.01 mm3 which was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 97.6% complete to 25o  in (.  

The raw data appeared twinned. With CELL_NOW
 calculates a 179o twin operation about real-space axis  [1.000 -0.019  0.002] (idealized two-fold rotation about triclinic a-axis), related to the triclinic Niggly cell was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed most of the overlap. A total of 14846 symmetry independent reflections covering the indices, h = -29 to 28, k = 0 to 29,  l = 0 to 33 with Rint = 0.1365 indicated that the twin-refined data was about acceptable (average quality 0.07). Indexing and unit cell refinement indicated then a C-centered monoclinic lattice.  The space group was found to be C 2/c  (No.15). 
Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The structure shows one complete and two halfe Sn-complexes, the latter two completed by lattice symmetry. The structure exhibits voids that are filled with methanol which appears to be heavily disordered.
The structure is of acceptable quality and suitable for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the structure, molecules extended by symmetry. 
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder of solvent omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C308 H240 N80 O20 S16 Sn8

Formula weight 
6844.28

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 24.6009(15) Å
= 90°.


b = 24.5097(15) Å
= 107.653(3)°.


c = 27.9272(18) Å
 = 90°.

Volume
16046.1(17) Å3
Z
2

Density (calculated)
1.417 Mg/m3
Absorption coefficient
0.789 mm-1
F(000)
6928

Crystal size
0.20 x 0.03 x 0.01 mm3
Theta range for data collection
1.56 to 25.66°.

Index ranges
-29<=h<=28, 0<=k<=29, 0<=l<=33

Reflections collected
14846

Independent reflections
14846 [R(int) = 0.1365]

Completeness to theta = 25.66°
97.6 % 

Max. and min. transmission
0.9922 and 0.8582

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
14846 / 56 / 988

Goodness-of-fit on F2
1.009

Final R indices [I>2sigma(I)]
R1 = 0.0835, wR2 = 0.1382

R indices (all data)
R1 = 0.1899, wR2 = 0.1621

Largest diff. peak and hole
1.210 and -0.699 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





