Crystal Structure Report for Toni Kline
Sample ID – 47
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

03. August 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An orange crystal prism, 0.34 x 0.17 x 0.05 mm of size was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 30 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 1.6o.   Data collection was 95.1% complete to 20.96o in (.  A total of  50851 partial and complete reflections were collected covering the indices, h = -15 to 15, k = -17 to 17,  l = -20 to 20.  11108 reflections were symmetry independent and the Rint = 0.1660 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS97) produced a partially complete heavy atom phasing model consistent with the proposed structure. A significant amount of disorder was found on trifluoroacetic acid molecules in the unit cell.
All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares with the exception of the disordered moieties the thermal parameters which were refined isotropically with three free parameters for all carbon, fluorides, and oxides of these acids. Weak scattering  above theta of 21 degrees caused the thermal parameter evaluation to be slightly unstable and a few non-positive definite thermal  ellipsoids were observed. As a remedy, the DELU model in the SHELX refinement  was aplied. Here, it is assumed that the thermal parmaters of two atoms in the  direction of bonds between them are similar. This removed the uncertainties  resulting in a stable refinement and realistic thermal ellipsoids. Further restraints resulted from restraining the distances in the  disordered trifluoroacetic acids (39 restraints) and setting up a free rotation model for the 6 water molecules (one disordered, (21 restraints).
Below are plots of the four molecules without showing the water and acid molecules. Clearly visible are the similarities between them, however it was not possible to reduce the lattice side and treat the small differences as disorder. The hydrogen atoms on the amines (N3, N6, N9, N12) were found to be in tetrahedral geometry evidenced by clearly visible electron density peaks on some of them. The lone pair on N3 may hydrogen bond to hydrogen of water molecules and acid, N6 to water and O2, O3 from a related molecule, N9 to water and acids, and N12 to O10, O11, however, the hydrogen atoms were placed rather than refined because there was no clear evidence of their locations from the electron density.
A small interaction between for example S1 and the adjacent aromatic hydrogen H19 may be responsible for the observed planarity.



[image: image2.jpg]



Figure 1. The four molecules of the proposed compound.

[image: image3.jpg]



Figure 2. The first of the molecules.

[image: image4.jpg]



Figure 3. The second  molecules.




[image: image5.jpg]



Figure 4. The third  molecules.

[image: image6.jpg]



Figure 5. The fouth molecule.




_1097643391.unknown

