Crystal Structure Report for Kovacs

Submitted by Elaine Nam

Sample ID – 575nm

by Jason Benedict, John Freudenthal, and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

20. July 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures/kovacs/elaine/575nm

Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brown crystal plate 0.07 x 0.24 x 0.09 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
181.6




3.70
89.7
160  
 0 

2
      
(        
81.5




3.70
25.9
-205 
 -74.1           

Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 2.0o.   Data collection was 92.7% complete to 27.09o and 97.4% complete to 25o  in (.  A total of 26490 partial and complete reflections were collected covering the indices, h = -17 to 17, k = -10 to 10, l = -19 to 19. 2023 reflections were symmetry independent and the Rint = 0.1474 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated a orthorhombic P lattice.  The space group was found to be P n m a (No.62). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Both the Fe complex and PF6 counter ion reside on a crystallographic mirror plane, thus only half of the atoms in each molecule are crystallographically unique. An ORTEP illustrating more clearly the ligand-metal coordination sphere is shown on the following page. Protons have been omitted for clarity. While refinement in the space group P 21 21 21 yielded a solution with a slightly lower R value, several restraints on thermal parameters were required and the BASF parameter - related to crystallographic enantiomeric twinning - refined to a value of 0.50. Additionally, the cifcheck and platon data analysis program both suggested that glide planes and a center of inversion were present, both of which are present in P n m a. 




_1097643391.unknown

