Crystal Structure Report for Kahr - Jen

Submitted by Dawn Cohen

Sample ID – 57a

by Jason B. Benedict

X-ray Crystallography Laboratory

University of Washington

13. September 2004
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\kahr\dawn\57a

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A dark green birefringent crystal plate 0.48 x 0.24 x 0.05 mm was mounted on a glass capillary with oil.  Data was collected at 23oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183.0




3.70
-1.5
160  
 0 

2
      
(        
106.5




0
145.9
101.0 
 -74.1           

Crystal-to-detector distance was 30 mm and exposure time was 150 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 67.5% complete to 29.73o and 92.5% complete to 25o  in (.  A total of 55879 partial and complete reflections were collected covering the indices, h = -14 to 12, k = -16 to 16,  l = -22 to 21.  9507 reflections were symmetry independent and the Rint = 0.0651 indicated that the data was of about average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXL-97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The asymmetric unit consists of two independent molecules (identified as A and B for the purpose of this discussion), illustrated to the right. The most pronounced difference between A and B is the confirmation of the N-ethyl group with respect to the N,N-dibutyl groups. In one molecule the ethyl and butyl groups are pointing in a similar direction, and oppose one another in the other molecule.  Carbon 48 was refined as a disordered methyl group with six protons each having half site occupancy. The dominant intermolecular interactions are dipole-dipole and pi-stacking between head to tail dimeric units (AA and BB) schematically illustrated to the right. There are also head to head AB slipped dimer pairs as well. All dimer pairs are separated by approximately 3.5Å.


B





A





A





B








