Crystal Structure Report for KJR Prasad

by Werner Kaminsky

Sample Submitted by Satheeshkumar. R 

ID – 5ClAOMeB

X-ray Crystallography Laboratory

University of Washington

29. January 2014
Data Collection  started: 1/28/2014
Documentation finished: 1/29/2014
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A yellow prism, measuring 0.35 x 0.28 x 0.23 mm3 was mounted on a loop with oil.  Data was collected at 19oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 3 seconds per frame for all sets.  The scan width was 1o.   Data collection was 99.7% complete to 25o  in (.  A total of  26770 reflections were collected covering the indices, h = -13 to 13, k = -13 to 13,  l = -15 to 15.  5314 reflections were symmetry independent and the Rint = 0.0285 indicated that the data was of better than average quality (0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No. 2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]Teir

SVt
I cis
N
: cu
o o L8 qonen
N 2Ny \"/\, N K oy e

ul ] ' v ca\ W

(ZZV\' o
NN LN A iy

2 12





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level..

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C27 H20 Cl N O2

Formula weight 
425.89

Temperature 
292(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 10.0337(8) Å
= 99.973(2)°.


b = 10.4135(8) Å
= 105.124(2)°.


c = 11.4541(8) Å
 = 105.245(2)°.

Volume
1076.47(14) Å3
Z
2

Density (calculated)
1.314 Mg/m3
Absorption coefficient
0.202 mm-1
F(000)
444

Crystal size
0.35 x 0.28 x 0.23 mm3
Theta range for data collection
2.22 to 28.27°.

Index ranges
-13<=h<=13, -13<=k<=13, -15<=l<=15

Reflections collected
26770

Independent reflections
5314 [R(int) = 0.0285]

Completeness to theta = 25.00°
99.7 % 

Max. and min. transmission
0.9551 and 0.9328

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
5314 / 0 / 281

Goodness-of-fit on F2
1.018

Final R indices [I>2sigma(I)]
R1 = 0.0440, wR2 = 0.1059

R indices (all data)
R1 = 0.0655, wR2 = 0.1225

Largest diff. peak and hole
0.218 and -0.358 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





