Crystal Structure Report for J. Kovacs

by W. Kaminsky

Sample Submitted by Audra Johansen 

ID – ALJ052014
X-ray Crystallography Laboratory

University of Washington

09. June 2014
Data Collection  started: 5/20/2014
Documentation finished: 6/9/2014
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless prism was found in the same batch as that for alj052014b, measuring 0.07 x 0.05 x 0.03 mm3, and was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 1o.   Data collection was 99.9% complete to 25o  in (.  A total of  73326 reflections were collected covering the indices, h = -22 to 22, k = -26 to 26,  l = -22 to 22.  14001 reflections were symmetry independent and the Rint = 0.2106 indicated that the crystal was small and not well grown, despite being the best selected.  Indexing and unit cell refinement indicated ortho rhombic lattice.  The space group was found to be P n a 21  (No. 33). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
A multiply disordered Et2O solvent was found to fill voids in a fashion that required introducing many restraints to the model to handle the solvent disorder, thus, solvent contributions to the diffraction data was more completely treated by removal with SQEEZE
.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Squeezed out solvent omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C78 H76 B2 Mn N6 O4

Formula weight 
1238.01

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Orthorhombic

Space group 
P n a 21
Unit cell dimensions
a = 17.7380(19) Å
= 90°.


b = 21.614(2) Å
= 90°.


c = 17.8103(16) Å
 = 90°.

Volume
6828.1(11) Å3
Z
4

Density (calculated)
1.204 Mg/m3
Absorption coefficient
0.248 mm-1
F(000)
2612

Crystal size
0.07 x 0.05 x 0.03 mm3
Theta range for data collection
2.21 to 26.43°.

Index ranges
-22<=h<=22, -26<=k<=26, -22<=l<=22

Reflections collected
73326

Independent reflections
14001 [R(int) = 0.2106]

Completeness to theta = 25.00°
99.9 % 

Max. and min. transmission
0.9926 and 0.9829

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
14001 / 13 / 826

Goodness-of-fit on F2
0.893

Final R indices [I>2sigma(I)]
R1 = 0.0828, wR2 = 0.1402

R indices (all data)
R1 = 0.1732, wR2 = 0.1671

Absolute structure parameter
0.39(3)

Largest diff. peak and hole
0.384 and -0.430 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� A. Spek, J. Appl. Cryst. (2003), 36, 7-13; P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





