Crystal Structure Report for K. Goldberg
by Werner Kaminsky 
Sample Submitted by Alex Miller 

ID – AM1142
X-ray Crystallography Laboratory

University of Washington

01. June 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless needle, measuring 0.30 x 0.05 x 0.03 mm3 was mounted on a loop with oil.  Data was collected at -163oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   

The raw data appeared indeed twinned. With CELL_NOW
 a 4.4o twin operation about  (-0.048 -1  0.289)  or [-0.458 1  0.035], was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of 13621 (merged) reflections were collected with 12759 symmetry independent reflections covering the indices, h = -31 to 30, k = 0 to 10,  l = 0 to 36 with Rint = 0.0909 indicating that the twin-refined data was of slightly less than average quality (0.07). Data collection was 99.5% complete to 25o  in (.  Indexing and unit cell refinement indicated then a primitive monoclinic lattice.  The space group was found to be P 21/c  (No.14). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The structure contains disordered BF4- anions and disordered CH3NO2 solvent.
The structure is of moderate quality but maybe acceptable for  publication. Table 1 summarizes the data collection details. Figure 1 shows an of the asymmetric unit with thermal ellipsoids at the 50% probability. 

[image: image1.png]



Figure 1. ORTEP
 of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C56 H81 B6 F24 Ir3 N2 O10

Formula weight 
2039.69

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/c

Unit cell dimensions
a = 26.386(4) Å
= 90°.


b = 8.9811(14) Å
= 105.735(7)°.


c = 30.650(4) Å
 = 90°.

Volume
6991.1(18) Å3
Z
4

Density (calculated)
1.938 Mg/m3
Absorption coefficient
5.815 mm-1
F(000)
3952

Crystal size
0.30 x 0.05 x 0.03 mm3
Theta range for data collection
2.07 to 25.35°.

Index ranges
-31<=h<=30, 0<=k<=10, 0<=l<=36

Reflections collected
13621

Independent reflections
12759 [R(int) = 0.0909]

Completeness to theta = 25.00°
99.5 % 

Max. and min. transmission
0.8449 and 0.2744

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
12759 / 772 / 1019

Goodness-of-fit on F2
1.040

Final R indices [I>2sigma(I)]
R1 = 0.0687, wR2 = 0.1253

R indices (all data)
R1 = 0.1175, wR2 = 0.1423

Largest diff. peak and hole
1.697 and -3.021 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





