Crystal Structure Report for Mayer

Submitted by Adam Wu 

Sample ID – AW02

by Dawn Cohen and Jason Benedict

X-ray Crystallography Laboratory

University of Washington

02. May 2005
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\mayer\adam\AW02

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An orange crystal prism of dimensions 0.14 x 0.14 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
120.6




3.70
-112.3
160  
 0 

2
      
(        
81.5




0
25.9
105.9 
 -74.1           

Crystal-to-detector distance was 30 mm and exposure time was 25 seconds per degree for all sets.  The scan width was 2o.   Data collection was 99.4% complete to 27.47o and 99.7% complete to 25o  in (.  A total of  24185 partial and complete reflections were collected covering the indices, h = -20 to 20, k = -20 to 20,  l = -11 to 11.  2764 reflections were symmetry independent and the Rint = 0.0772 indicated that the data was of  average quality (0.07). 

Indexing and unit cell refinement indicated a tetragonal P lattice.  The space group was found to be P(4 21 m (No.113). 

The data was integrated and scaled using HKL2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The ZnBr42- counter ion is located in a special position such that it is shared between 2 Ru(III) complexes. The structure also contains a methanol solvent molecule.  The bypiridyl ligand is well resolved however the tetramethyl ethylenediamine ligand is disordered as shown to the right in blue and purple. For clarity, one set of the disordered atoms is shown in the second figure. Protons have been removed in both figures.  




