Crystal Structure Report for Jim Mayer 
Submitted by Adam Wu
Sample ID – AW07
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. February 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black crystal plate size 0.48 x 0.36 x 0.02 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183.0




5.3
-1.5
160  
 0 

2
      
(        
96.8




5.3
-25.9
-206.8 
 74.1           

3
      
(        
91.8




5.3
94.1
-206.8 
 74.1           

Crystal-to-detector distance was 40 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 1.5o.   Data collection was 85.8% complete to 20.82o in (.  A total of  160420 partial and complete reflections were collected covering the indices, h = -13 to 13, k = -11 to 13,  l = -26 to 26.  13964 reflections were symmetry independent and the Rint = 0.1488 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced an incomplete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The crystals turned out to be microtwinned. As a result, the reflection data was very problematic. In addition, the wafer-thin sample seemed to bend which caused additional problems. Further, there are indications that the substance was not completely pure (a recent number of structures containing OTF showed similar features). Four molecules, as proposed, four OTF anions, and two CH2Cl2 complete the asymmetric unit. The OTFs needed to be heavily constraint. The molecules themselfes required constraints on them which leaves this structures value to the proof that the substance exists. Bonddistances and angles between ruthenium and the oxygen, nitrogen bonding to it may be free enough for further interpretions. The structure has been edited for publication, but will need to be declared as additional information only as the statistical data analysis in the eys of the IUCr will not be satisfying.



_1097643391.unknown

