Crystal Structure Report for J Mayer
Submitted by Adam Wu 

Sample ID – AW12
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

22. September 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black crystal prism, size 0.24 x 0.24 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
-144.5
160  
 0 

2
      
(        
91.5




3.70
94.1
-200.1 
 74.1           

2
      
(        
21.5




3.70
-145.9
-175.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 70 seconds per degree for all sets.  The scan width was 2o.   Data collection was 96.1% complete to 26.44o and 96.9% complete to 25o  in (.  A total of  57917 partial and complete reflections were collected covering the indices, h = -35 to 35, k = -11 to 13,  l = -19 to 15.  4185 reflections were symmetry independent and the Rint = 0.1353 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be C 2/c (No. 15) 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A disordered solvent molecule, acetonitrile
Comes close to the hydrogen free nitrogen N3. Restraint distances were applied to the solvent atoms. The Crystal quality was reduced, thus data at higher scattering angles was week which affects the precision of thermal parameters. As a result the thermal parameters of the solvents were restraint as well. An anti-bump restraint was applied to keep H4 and H20a from the acetonitrile solvent separated.
The cif file was edited for publication, adding into it the comment to an A-warning that the distance between C19 from the acetonitrile and N3 is short because N3 would probably act as an attractor for the polar solvent (C19, C20, N4).




_1097643391.unknown

