Crystal Structure Report for J Mayer
Submitted by Adam Wu 

Sample ID – AW13
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

19. July 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black crystal prism, size 0.59 x 0.14 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with four sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183.0




3.70
-1.5
160  
 0 

2
      
(        
106.5




3.70
-145.9
-200.1 
 74.1           

3
      
(        
71.5




3.70
94.1
-200.1 
 74.1
4
      
(        
56.5




3.70
-25.9
-180.1 
 74.1

Crystal-to-detector distance was 30 mm and exposure time was 25 seconds per degree for all sets.  The scan width was 2o.   Data collection was 94.5% complete to 28.38o and 99.2% complete to 25o  in (.  A total of  37364 partial and complete reflections were collected covering the indices, h = -14 to 14, k = -16 to 13,  l = -16 to 16.  7329 reflections were symmetry independent and the Rint = 0.0809 indicated that the data was of average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The fluorines on C10, i.e. F10, F11 F12 are disordered probably caused of the geometrically preferred set having a slightly too short distance between C21 and F11A of  2.93 Å (the disordered fluorines C10B .. C12B are not shown). The disorder ratio between FxA and FxB is 24.7(9) % in favor of the alternative set FxB. The thermal parameters of F10A-F12B are restraint softly. 

A hydrogen bond between N3 and N4 is highlighted with a dashed line, with H4 on N4 refined 'riding'. The electron density for H4 was found in the geometrically ideal position on N4, however, when let free to refine its position with temperature factor fixed to 1.2 times that of N4, the hydrogen H4 moved into the middle between N3 and N4 which was far from the originally observed electron density maximum.



_1097643391.unknown

