Crystal Structure Report for K. Goldberg

by Werner Kaminsky

Sample Submitted by Ash Wright 

ID – AW2_50_1

X-ray Crystallography Laboratory

University of Washington

16. June 2014
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Data Collection  started: 6/4/2014

Documentation finished: 6/16/2014

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An orange prism, measuring 0.15 x 0.11 x 0.09 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 44 mm and exposure time was 4 seconds per frame for all sets.  The scan width was 1o.   Data collection was 98.9% complete to 25o  in (.  A total of  99365 reflections were collected covering the indices, h = -31 to 31, k = -31 to 31,  l = -18 to 21.  6556 reflections were symmetry independent and the Rint = 0.1996 indicated problems (average quality 0.07).  Indexing and unit cell refinement indicated a primitive trigonal lattice.  The space group was found to be P 63/m  (No.176). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Solvent and subsequent SQEEZE
 analysis discovered very large voids. These infinite channels along the c-axis did not exhibit distinct electron density yet were filled with at least 8 CH2CL2 and pentane solvent molecules, and their contribution to the diffraction pattern was removed with SQEEZE. Despite this, the structure showed elongated thermal parameters. Indeed, after checking unusual bond-distances, the problem was related to full-molecule disorder brought about by a small tilt around the I-Ir-I axis. The same disorder was observed when refining in P1 and thus is intrinsic.
The structure is of sufficient quality for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]szle/ 3a ¢
ol e af L
LNEN7N g

©

—-MI ol onfen
> P eA

=

g





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C41 H35 F3 I2 Ir N5

Formula weight 
1100.74

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Trigonal

Space group 
P 63/m

Unit cell dimensions
a = 24.866(3) Å
= 90°.


b = 24.866(3) Å
= 90°.


c = 16.689(3) Å
 = 120°.

Volume
8936(2) Å3
Z
6

Density (calculated)
1.227 Mg/m3
Absorption coefficient
3.310 mm-1
F(000)
3156

Crystal size
0.15 x 0.11 x 0.09 mm3
Theta range for data collection
2.25 to 26.84°.

Index ranges
-31<=h<=31, -31<=k<=31, -18<=l<=21

Reflections collected
99365

Independent reflections
6556 [R(int) = 0.1996]

Completeness to theta = 25.00°
98.9 % 

Max. and min. transmission
0.7549 and 0.6365

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
6556 / 420 / 431

Goodness-of-fit on F2
0.910

Final R indices [I>2sigma(I)]
R1 = 0.0605, wR2 = 0.1164

R indices (all data)
R1 = 0.1210, wR2 = 0.1305

Largest diff. peak and hole
1.106 and -2.646 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� A. Spek, J. Appl. Cryst. (2003), 36, 7-13; P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





