Crystal Structure Report for J. Kovacs
by Betsy Flowers & W. K.
Sample Submitted by Audra Johansen 

ID – Audra_111813
X-ray Crystallography Laboratory

University of Washington

17. December 2013
Data Collection  started: 18 November 2013
Documentation finished: 17 December 2013
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colourless piece, measuring 0.10 x 0.02 x 0.01 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40.00 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.1% complete to 25o  in (.  A total of  57917 reflections were collected covering the indices, h = -15 to 15, k = -11 to 11,  l = -35 to 36.  6311 reflections were symmetry independent and the Rint = 0.231 indicated that the data was of less than average quality (0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c  (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Half of the dimer is related to the other by  inversion symmetry.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Second Counter ion omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C42 H58 F12 Mn2 N8 O4 P2 S2

Formula weight 
1202.90

Temperature 
100(2) K

Wavelength 
71.073 pm

Crystal system 
Monoclinic

Space group 
P 21/c
Unit cell dimensions
a = 1157.8(3) pm
= 90°.


b = 833.84(19) pm
= 102.041(18)°.


c = 2700.7(7) pm
 = 90°.

Volume
2.5500(11) nm3
Z
2

Density (calculated)
1.567 Mg/m3
Absorption coefficient
0.733 mm-1
F(000)
1236.0

Crystal size
0.10 x 0.02 x 0.01 mm3
Theta range for data collection
2.11 to 28.36°.

Index ranges
-15<=h<=15, -11<=k<=11, -35<=l<=36

Reflections collected
57917

Independent reflections
6311 [R(int) = 0.2306]

Completeness to theta = 25.00°
99.5 % 

Absorption correction
Semi-empirical from equivalents

Max. and min. transmission
0.9927 and 0.9303

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
6368 / 0 / 330

Goodness-of-fit on F2
0.988

Final R indices [I>2sigma(I)]
R1 = 0.0600, wR2 = 0.0831

R indices (all data)
R1 = 0.1737, wR2 = 0.1119

Largest diff. peak and hole
0.401 and -0.556 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





