Crystal Structure Report for Karen Goldberg

by Maike Blakely & Werner Kaminsky

Sample Submitted by Braden Zahora 

ID – BAZ_1_179

X-ray Crystallography Laboratory

University of Washington

21. October 2016
Data Collection  started: 10/13/2016
Documentation finished: 10/21/2016
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

An orange prism, measuring 0.04 x 0.02 x 0.02 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 30 mm and exposure time was 240 seconds per frame for all sets.  The scan width was 1o.   Data collection was 99.8% complete to 25o  in (.  A total of  92722 reflections were collected covering the indices, -23<=h<=23, -23<=k<=23, -37<=l<=37.  5676 reflections were symmetry independent and the Rint = 0.0620 indicated that the data was of good quality.  Indexing and unit cell refinement indicated a body centered tetragonal lattice.  The space group was found to be I 41/a  (No. 88). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The tetragonal structure exhibits infinite channels along a as well as b axes, filled with disordered solvent (THF, pentane). The contribution of that disordered solvent to the diffraction pattern was removed with SQUEEZE
. The deuterium D1 on C1 was identified by its much smaller displacement parameter. However, D1 may well be disordered with hydrogen H1. The t-butyl and deuterated phenyl moiety are disordered with 86% of of the maior orientation, taking with it the Pt atom, in reflection of the massive amount of disordered solvent in the lattice, which in turn required several restraints to insure refinement convergent.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C23 H24 D6 N4 Pt

Formula weight 
563.64

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Tetragonal

Space group 
I 41/a

Unit cell dimensions
a = 19.9089(8) Å
= 90°.


b = 19.9089(8) Å
= 90°.


c = 31.220(3) Å
 = 90°.

Volume
12374.6(13) Å3
Z
16

Density (calculated)
1.210 Mg/m3
Absorption coefficient
4.546 mm-1
F(000)
4384

Crystal size
0.04 x 0.02 x 0.02 mm3
Theta range for data collection
2.05 to 25.40°.

Index ranges
-23<=h<=23, -23<=k<=23, -37<=l<=37

Reflections collected
92722

Independent reflections
5676 [R(int) = 0.0620]

Completeness to theta = 25.00°
99.8 % 

Max. and min. transmission
0.9349 and 0.8391

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
5676 / 42 / 260

Goodness-of-fit on F2
0.983

Final R indices [I>2sigma(I)]
R1 = 0.0593, wR2 = 0.1234

R indices (all data)
R1 = 0.0991, wR2 = 0.1385

Largest diff. peak and hole
2.182 and -1.097 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2013) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3-8.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� A. Spek, J. Appl. Cryst. (2003), 36, 7-13; P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





