Crystal Structure Report for Forest Michael
Submitted by Brian Cochran 

Sample ID – BMC-J-159
by Werner Kaminsky and John Freudenthal
X-ray Crystallography Laboratory

University of Washington

05. April 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black prism size 0.25 x 0.2 x 0.1 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
168.4




7.8
-203.1
160  
 0 

2
      
(        
33.0




7.8
25.9
-185.0 
 -74.1           

3
      
(        
94.4




0.0
25.9
90.6 
 -74.1           

Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 2o.   Data collection was 95.0% complete to 25.67o and 95.9% complete to 25o  in (.  A total of  67180 partial and complete reflections were collected covering the indices, h = -11 to 11, k = -35 to 40,  l = -15 to 15.  7642 reflections were symmetry independent and the Rint = 0.1894 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No 14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The structure is pseudo-orthorhombic with a deviation of the monoclinic angle of just 5 hundred degrees from orthogonality. The correct choice of space group is confirmed by the software package 'PLATON' and the fact that the systematic absences uniquely identify the selected spacegroup. The structure turned out different to the proposed ones, but is consistent with the chemistry involved. The quality of the structure is (just) ready for publication in JACS or similar-in-quality journals.




_1097643391.unknown

