Crystal Structure Report for J Kovacs
by Werner Kaminsky & Michael Coggins
Sample Submitted by Ben Leipzig 

ID – Ben01
X-ray Crystallography Laboratory

University of Washington

29. April 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

From a batch of green crystals was taken a small prism, measuring 0.15 x 0.10 x 0.05 mm3 which was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 93.5% complete to 25o  in (.  

The raw data appeared twinned and yielded no useful structure solution. With CELL_NOW
 a 90o twin operation about  reciprocal (0 0 1)  was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of 4716 (merged) reflections were collected with 4658 symmetry independent reflections covering the indices, h = -13 to 13, k = 0 to 13,  l = 0 to 25 with Rint = 0.1072 indicated that the twin-refined data of slightly less than average quality (0.07). Indexing and unit cell refinement indicated then a monoclinic lattice.  The space group was found to be P 21/n  (No.14). 
Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The structure is still slightly twinned, thus the R1 refinement value (15.44%) is not satisfying. 
[image: image1.png]=29 Y

(24031 1)

PLATON-Apr 29 19:14:31 2011

N

-99

1

P12l/n 1

R =0.15

NOMOVE FORCED

Prob

0

noau
—
Oul
oo

-51 X





Figure 1 shows an ORTEP
 of the asymmetric unit with thermal ellipsoids at the 50% probability. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C46 H76 F12 Mn2 N10 O3 P2

Formula weight 
1216.99

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/n

Unit cell dimensions
a = 11.3958(15) Å
= 90°.


b = 11.3685(15) Å
= 95.101(10)°.


c = 20.848(3) Å
 = 90°.

Volume
2690.2(6) Å3
Z
2

Density (calculated)
1.502 Mg/m3
Absorption coefficient
0.621 mm-1
F(000)
1268

Crystal size
0.15 x 0.10 x 0.05 mm3
Theta range for data collection
1.79 to 25.40°.

Index ranges
-13<=h<=13, 0<=k<=13, 0<=l<=25

Reflections collected
4716

Independent reflections
4658 [R(int) = 0.1072]

Completeness to theta = 25.40°
93.5 % 

Max. and min. transmission
0.9696 and 0.9127

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
4658 / 168 / 347

Goodness-of-fit on F2
1.012

Final R indices [I>2sigma(I)]
R1 = 0.1544, wR2 = 0.3215

R indices (all data)
R1 = 0.2044, wR2 = 0.3505

Largest diff. peak and hole
0.920 and -0.810 e.Å-3



� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





