Crystal Structure Report for J Kovacs
By M. Coggins and  W. Kaminsky

Sample Submitted by Ben Leipzig
ID – Ben06
X-ray Crystallography Laboratory

University of Washington

25. October 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A gray block, measuring 0.1 x 0.1 x 0.05 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 49.5% complete to 20o  in (.  A total of  69414 (merged) reflections were collected covering the indices, h = -25 to 25, k = -49 to 48,  l = -14 to 14.  9478 reflections were symmetry independent and the Rint = 0.6592 indicated that the data was marginal and critical (average quality 0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c  (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure was just obtained and the result should not be considered for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C106 H105 B2 Mn2 N9 O S2

Formula weight 
1716.61

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/c

Unit cell dimensions
a = 25.110(7) Å
= 90°.


b = 48.999(14) Å
= 89.56(8)°.


c = 14.589(6) Å
 = 90°.

Volume
17949(10) Å3
Z
4

Density (calculated)
0.635 Mg/m3
Absorption coefficient
0.192 mm-1
F(000)
3616

Crystal size
0.10 x 0.10 x 0.05 mm3
Theta range for data collection
1.66 to 21.10°.

Index ranges
-25<=h<=25, -49<=k<=48, -14<=l<=14

Reflections collected
69414

Independent reflections
9478 [R(int) = 0.6592]

Completeness to theta = 20.00°
49.5 % 

Max. and min. transmission
0.9905 and 0.9811

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
9478 / 144 / 1012

Goodness-of-fit on F2
1.044

Final R indices [I>2sigma(I)]
R1 = 0.1630, wR2 = 0.3450

R indices (all data)
R1 = 0.3669, wR2 = 0.4681

Largest diff. peak and hole
0.222 and -0.077 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





