Crystal Structure Report for Julie Kovacs

by Michael Coggins and W. Kaminsky

Sample Submitted by Ben Leipzig 

ID – Ben09
X-ray Crystallography Laboratory

University of Washington

30. March 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black twinned plate, measuring 0.17 x 0.15 x 0.05 mm3 which was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 98.0% complete to 25o  in (.  

The raw data appeared twinned. With CELL_NOW
 a 180o twin operation [1.000 0 0 was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed most of the overlap. A total of 8083 (merged) reflections were collected covering the indices, h = -47 to 43, k = 0 to 15,  l = 0 to 23 with Rint = 0.1316 indicated that the twin-refined data was still problematic (average quality 0.07). Indexing and unit cell refinement indicated then a monoclinic C lattice.  The space group was found to be C 2/c  (No.15). 
Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
One of the three PF6 anions, complimenting one dimer molecule inside the structure appears disordered with itself, another is disordered with acetonitrile. 
The structure is of moderate quality and may be used for publication. Table 1 summarizes the data collection details. 
[image: image1.png]



Figure 1 shows an ORTEP
 of the asymmetric unit with thermal ellipsoids at the 50% probability. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C46 H105 F36 Mn4 N17 O6 P6

Formula weight 
2082.05

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 38.076(3) Å
= 90°.


b = 12.3735(8) Å
= 112.438(4)°.


c = 18.5152(12) Å
 = 90°.

Volume
8062.7(9) Å3
Z
4

Density (calculated)
1.715 Mg/m3
Absorption coefficient
0.869 mm-1
F(000)
4248

Crystal size
0.17 x 0.15 x 0.05 mm3
Theta range for data collection
1.74 to 26.37°.

Index ranges
-47<=h<=43, 0<=k<=15, 0<=l<=23

Reflections collected
8083

Independent reflections
8083 [R(int) = 0.1316]

Completeness to theta = 25.00°
98.0 % 

Max. and min. transmission
0.9578 and 0.8663

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8083 / 289 / 548

Goodness-of-fit on F2
1.035

Final R indices [I>2sigma(I)]
R1 = 0.1231, wR2 = 0.2252

R indices (all data)
R1 = 0.2273, wR2 = 0.2681

Largest diff. peak and hole
1.161 and -0.980 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





