Crystal Structure Report for Julie Kovacs

by M. Coggins and W. Kaminsky

Sample Submitted by Ben Leipzig 

ID – Ben23

X-ray Crystallography Laboratory

University of Washington

11. September 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A blue twinned twinned, measuring 0.15 x 0.05 x 0.05 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 90 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 97.2% complete to 25o  in (.  The sample seemed to consist of at least three individuals. 

The raw data appeared conglomerated. With CELL_NOW
 three individual data sets were isolated which, if not separated, would cause considerable overlap of diffraction peak intensities. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of 5887 independent reflections were collected covering the indices, h = -11 to 9, k = -16 to 15,  l = -9 to 16 with Rint = 0.1268 indicated that the twin-refined data was of less than average quality (0.07). Indexing and unit cell refinement indicated then a triclinic P lattice.  The space group was found to be P(1  (No.2). 
Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. 
[image: image1.png]



Figure 2 shows an ORTEP
 of the asymmetric unit with thermal ellipsoids at the 50% probability. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C26 H37 Cl4 Fe N3 S

Formula weight 
621.30

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 9.3775(18) Å
= 82.409(12)°.


b = 12.758(3) Å
= 83.916(7)°.


c = 12.987(4) Å
 = 73.056(8)°.

Volume
1469.6(6) Å3
Z
2

Density (calculated)
1.404 Mg/m3
Absorption coefficient
0.968 mm-1
F(000)
648

Crystal size
0.10 x 0.05 x 0.05 mm3
Theta range for data collection
1.68 to 26.52°.

Index ranges
-11<=h<=9, -16<=k<=15, -9<=l<=16

Reflections collected
5887

Independent reflections
5887 [R(int) = 0.1268]

Completeness to theta = 25.00°
97.2 % 

Max. and min. transmission
0.9532 and 0.9094

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
5887 / 0 / 324

Goodness-of-fit on F2
0.909

Final R indices [I>2sigma(I)]
R1 = 0.0727, wR2 = 0.1246

R indices (all data)
R1 = 0.1731, wR2 = 0.1509

Largest diff. peak and hole
0.821 and -0.555 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





