Crystal Structure Report for 
Prof. Heinekey
Submitted by Vincent Pons
Sample ID – CpsIrdmpmCl
by Antonio DiPasquale
X-ray Crystallography Laboratory

University of Washington

22. October 2003
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\heinekey\vincent\CpsIrdmpmCl 
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

A.DiPasquale:(206) 616-4212

(x-ray lab):     (206) 543-0210 

Email:
adipasqu@u.washington.edu
Understanding crystallographic information is not trivial, if you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.  For many structures, it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even we have to pay for our own structures for our research.

A yellow crystal prism 0.24 x 0.24 x 0.19 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with one set of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):
(     
(
(     
( 

1
      
(        
183.0


          
         3.703    -1.5      160    0.000      

Crystal-to-detector distance was 30 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 2.0o.   Data collection was 81.4% complete to 28.35o in (.  A total of 12,856 partial and complete reflections were collected covering the indices, h = -11 to 11, k = -11 to 15,

 l = -19 to 19.  8,265 reflections were symmetry independent and the Rint = 0.0761 indicated that the data was of average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P -1 (No.2). 

The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS-97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were placed using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).



_1097643391.unknown

