Crystal Structure Report for 

Sei-Hum Jang

by Werner Kaminsky

Sample Submitted by Francis Lin 

ID –Cranfis_8_2021_1
X-ray Crystallography Laboratory

University of Washington

27. September 2021
Data Collection  started: 8/30/2021
Documentation finished: 9/27/2021
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A black prism, measuring 0.40 x 0.10 x 0.05  mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 1o.   Data collection was 98.7% complete to 25o  in (.  A total of  16026 independent reflections were collected covering the indices, -28<=h<=28, -71<=k<=70, -16<=l<=16,  Rint = 0.2066.  Indexing and unit cell refinement indicated a C-centered monoclinic lattice.  The space group was found to be C2/c  (No. 15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structures exhibits disorder in almost all moieties, with the contribution of disordered solvent to the diffraction pattern being removed with SQUEEZE.
 In a case like this, the structure is intrinsically ‘hoy’, and diffraction peaks at higher diffraction angles are ‘swallowed’ by an elevated diffuse background, a phenomenon that cannot be overcome by prolonged x-ray exposure per collected frame. The data statistics becomes unsatisfactory in that case.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 15% probability level. Disorder and solvent omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C86 H94 F4 N8 O2 S3 Se2

Formula weight 
1601.79

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 23.5690(18) Å
a= 90°.


b = 58.981(4) Å
b= 106.720(4)°.


c = 13.7805(8) Å
g = 90°.

Volume
18347(2) Å3
Z
8

Density (calculated)
1.160 Mg/m3
Absorption coefficient
0.928 mm-1
F(000)
6672

Crystal size
0.400 x 0.100 x 0.050 mm3
Theta range for data collection
0.966 to 25.027°.

Index ranges
-28<=h<=28, -71<=k<=70, -16<=l<=16

Reflections collected
16026

Independent reflections
16026 [R(int) = 0.2066]

Completeness to theta = 25.000°
98.7 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
16026 / 3409 / 1145

Goodness-of-fit on F2
1.017

Final R indices [I>2sigma(I)]
R1 = 0.1885, wR2 = 0.2786

R indices (all data)
R1 = 0.4928, wR2 = 0.3663

Largest diff. peak and hole
0.358 and -0.274 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





