Crystal Structure Report for A. Jen
by Werner Kaminsky

Sample Submitted by Francis Lee 

ID – Cranfis_8_2021_2
X-ray Crystallography Laboratory

University of Washington

08. November 2022
Data Collection  started: 8/31/2021
Documentation finished: 9/8/2022
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A black prism, measuring 0.40 x 0.10 x 0.05 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 180 seconds per frame for all sets.  The scan width was 1o.   Data collection was only 96.2% complete to 20.8o in (. There was no data beyond a resolution of 1.  A total of 17939 reflections were collected covering the indices, -22<=h<=22, -58<=k<=57, -13<=l<=12.  6896 reflections were symmetry independent and the Rint = 0.1474 indicated that the data was weak.  Indexing and unit cell refinement indicated a C-centered monoclinic lattice.  The space group was found to be C 2/c  (No. 15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

The contribution of disordered solvent to the diffraction pattern was removed with SQUEEZE

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
There was no data beyond a resolution of 1 despite long exposure and strong data at lower resolution. The reason lies in the extensive side chain and solvent disorder which lets the data appear as if measured at high temperature, i.e., the structure exhibits overall elevated displacement parameters, the crystal appears hot, despite having taken the data at 100K. Due to expensive disorder, the refinement required a large number of restraints which drove the R-values up.

The structure is edited to allow publication with explanation of its shortcomings. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder and squeezed solvent omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C184 H212 F8 N16 O8 S10

Formula weight 
3248.28

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 22.901(3) Å
a= 90°.


b = 58.152(5) Å
b= 97.84(6)°.


c = 13.5106(10) Å
g = 90°.

Volume
17824(4) Å3
Z
4

Density (calculated)
1.210 Mg/m3
Absorption coefficient
0.192 mm-1
F(000)
6896

Crystal size
0.400 x 0.100 x 0.050 mm3
Theta range for data collection
1.382 to 20.816°.

Index ranges
-22<=h<=22, -58<=k<=57, -13<=l<=12

Reflections collected
8989

Independent reflections
8989 [R(int) = 0.1474]

Completeness to theta = 20.816°
96.2 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8989 / 1787 / 1138

Goodness-of-fit on F2
1.067

Final R indices [I>2sigma(I)]
R1 = 0.2534, wR2 = 0.4424

R indices (all data)
R1 = 0.4559, wR2 = 0.5103

Largest diff. peak and hole
0.681 and -0.419 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





