Crystal Structure Report for Alex Jen

by Werner Kaminsky

Sample Submitted by Francis Lin 

ID – Cranfis_Y6
X-ray Crystallography Laboratory

University of Washington

04. June 2019
Data Collection  started: 5/24/2019
Documentation finished: 6/4/2019
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A black lustrous prism with a bronze colored shimmer, measuring 0.40 x 0.20 x 0.07 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. The crystals were stable under oil for only 5 minutes.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 0.5o.  Data collection was 99.1% complete to 25o  in (.  A total of 29810 reflections were collected covering the indices, -28<=h<=28, -68<=k<=68, -17<=l<=17.  15085 reflections were symmetry independent and the Rint = 0.2471 indicated that the data was problematic, in fact, despite acceptable mosaicity, diffuse scattering indicated a high degree of disorder.  Indexing and unit cell refinement indicated a C-centered monoclinic lattice.  The space group was found to be C2/c (No.15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 
Solution by direct methods (SHELXT
 or SIR97
) produced a rather incomplete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure contains infinite channels along the reciprocal c-axis which was filled with non-localized solvent. The contribution of that disordered solvent to the diffraction pattern was removed with SQUEEZE.
 The solvent disorder also affects the chromophore. At least two conformations were modelled affecting mostly the alkene side chains, and multiple restraints needed been applied.
The structure is of moderate quality and the cif-file was accordingly edited for possible publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 10% probability level. Disorder and SQUEEZED solvent omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C82 H86 F4 N8 O2 S5

Formula weight 
1451.88

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 23.7019(19) Å
= 90°.


b = 57.450(4) Å
= 118.541(4)°.


c = 14.3969(10) Å
 = 90°.

Volume
17222(2) Å3
Z
8

Density (calculated)
1.120 Mg/m3
Absorption coefficient
0.190 mm-1
F(000)
6128

Crystal size
0.400 x 0.200 x 0.070 mm3
Theta range for data collection
1.418 to 25.027°.

Index ranges
-28<=h<=28, -68<=k<=68, -17<=l<=17

Reflections collected
29810

Independent reflections
15085 [R(int) = 0.2471]

Completeness to theta = 25.000°
99.1 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
15085 / 1543 / 1111

Goodness-of-fit on F2
1.088

Final R indices [I>2sigma(I)]
R1 = 0.1770, wR2 = 0.4202

R indices (all data)
R1 = 0.4205, wR2 = 0.5272

Largest diff. peak and hole
0.373 and -0.369 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





