Crystal Structure Report for M. Heinekey

Submitted by Dan Brayton 

Sample ID – DUE-DFB-I-008

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red prism, 0.28 x 0.24 x 0.18 mm of size was mounted on a glass capillary with oil.  Data was collected at -143oC.

Crystal-to-detector distance was 30 mm and exposure time was 20 seconds per degree for all scan sets.  The scan width was 1o.   Data collection was 96.0% complete to 28.30o and 99.3% complete to 25o  in (.  A total of  35803 partial and complete reflections were collected covering the indices, h = -10 to 10, k = -39 to 39,  l = -15 to 15.  6322 reflections were symmetry independent and the Rint = 0.0475 indicated that the data was excellent (average quality 0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No. 14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The molecule shows pseudo C2v symmetry. Cl1 is slightly shifted out of the O-P-Ir-C1 plane and the two chlorides Cl2, Cl3 are alternatively deviating from that plane. The t-butyl groups do not preciesely match the C2v symmetry either. Some electron density - fitting a hydrogen atom - was found at a very short distance of 1.40(6) Å normal to the O-P-Ir-C1 plane consistent with the Cl1 titl. However, his debatable hydrogen atom was omitted from the final structure refinement.

The structure is of very high quality ready for publication.




_1097643391.unknown

