Crystal Structure Report for S. Jenekhe
Submitted by Eilaf Ahmed 

Sample ID – Eilaf001
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

29. September 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A yellow crystal prism, size 0.59 x 0.36 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with four sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
645
160  
 0 

2
      
(        
9.9




3.70
25.9
-165.0 
 -74.1           

3
      
(        
101.5




0
94.1
106.0 
 -74.1           

4
      
(        
66.5




0
25.9
-177.5 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 1o.   Data collection was 88.9% complete to 25.7o and 92.2% complete to 25o  in (.  A total of  135448 partial and complete reflections were collected covering the indices, h = -19 to 19, k = -8 to 8,  l = -26 to 25.  3173 reflections were symmetry independent and the Rint = 0.0874 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No.14) 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The samples were of poor quality and did not scatter well at higher angles because of a rather large mosaicity value. As a result, more reflections at higher angle in theta turned out to be too low in intensity to be counted in the data statistics. CCD camera software will in this case not include them as 0 intensity peaks as in case of the older single counter devices, instead will skipp them all together and the fraction of measured data becomes reduced. The total diffraction angle 2theta is sufficiently high to insure proper evaluation of thermal parameters.  No reflections were missing in the list of systematically absent reflections required for deriving the space group.

H12 and H19 are intrinsically close as a result of the structure. This collision causes a torsion C6 - C12 vers. C4, C5,C19 -C22 of 8.45(8) degrees.

.




_1097643391.unknown

