Crystal Structure Report for S Jenekhe
Submitted by Eilaf Ahmed 

Sample ID – Eilaf004
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

03. December 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A thin yellow needle,  0.59 x 0.03 x 0.03 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Crystal-to-detector distance was 30 mm and exposure time was 180 seconds per degree for all sets.  The scan width was 2o.   Data collection was 93% complete to 21.3o  in (.  A total of  17773 partial and complete reflections were collected covering the indices, h = -18 to 18, k = -5 to 5,  l = -21 to 21.  1226 reflections were symmetry independent and the Rint = 0.3555 indicated that the data was problematic, due to the small size (average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be C 2/c. 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

[image: image2.jpg]Cl13
.
C18 Sc14

c17 (A
8T cis

Cl6 s




Fig. 1: Ortep with 50% probability thermal ellipsoids
 The needles were indexed (Fig. 2)
[image: image3.png]



Fig 2. Indexed morphology, b// needle axis

The Bravais-Friedel;Donnay-Harker model calculation confirm the indexed faces and gave some more, less large faces. Faces on top or bottom of the needles were not properly developed for  indexing.

[image: image4.png]



Fig. 3 calculated morphology.
A 'zig-zag' packaing best describes the growth along the b-axis.
[image: image5.png]



Fig. 4. Packing diagram




_1097643391.unknown

