Crystal Structure Report for M. Heinekey
Submitted by Inigo Aguirre de Carcer 
Sample ID – FeCOS3_2
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

05. February 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A dark green prism, 0.56 x 0.11 x 0.07 mm of size was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
177.0




1.20
-0.5
160  
 0 

2
      
(        
66.5




1.20
-145.9
-205.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 50 seconds per degree for all sets.  The scan width was 3o.   Data collection was 51.6% complete to 18.85o in (.  A total of  61039 partial and complete reflections were collected covering the indices, h = -7 to 9, k = -11 to 11,  l = -17 to 17.  1935 reflections were symmetry independent and the Rint = 0.2056 indicated that the data was problematic (average quality 0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

This structure consists of two 'half' molecules completed by the inversion symmetry. The crystals tested (the best data set was used)  were astonishingly troublesome despite well developed prismatic shape. As a result, the structure does not reach the required statistical integrity for publication, however, the result can be used in a thesis or proposal as example.



_1097643391.unknown

