Crystal Structure Report for Spyridis

Submitted by Greg Spyridis

Sample ID – SP7

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

05. November 2018
Data Collection  started: 9/22/2005
Documentation finished: 11/5/2018
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red crystal prism 0.24 x 0.17 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 100 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 96.7% complete to 25o  in .  A total of 34055 partial and complete reflections were collected covering the indices, -15<=h<=15, -7<=k<=7, -21<=l<=21.  2155 reflections were symmetry independent and the Rint = 0.1680 indicated a week scattering ability.
Indexing and unit cell refinement indicated an orthorhombic P lattice.  The space group was found to be P c a 21 (No.29). 

The data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
SP7 crystallizes in the polar spacegroup Pca21. Examination of the crystal packing reveals that the molecules in the structure are packed in a polar configuration along the c-axis (polar axis). This material should thus be second harmonic generation active. The crystal used in this experiment was obtained by slow evaporation of CHCl3.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image2.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C16 H17 N

Formula weight 
223.30

Temperature 
130(2) K

Wavelength 
0.71073 Å

Crystal system 
Orthorhombic

Space group 
P c a 21

Unit cell dimensions
a = 12.3070(5) Å
= 90°.


b = 5.8790(9) Å
= 90°.


c = 17.3510(19) Å
 = 90°.

Volume
1255.4(2) Å3
Z
4

Density (calculated)
1.181 Mg/m3
Absorption coefficient
0.068 mm-1
F(000)
480

Crystal size
0.240 x 0.170 x 0.120 mm3
Theta range for data collection
2.348 to 27.567°.

Index ranges
-15<=h<=15, -7<=k<=7, -21<=l<=21

Reflections collected
2155

Independent reflections
2155 [R(int) = 0.168]

Completeness to theta = 25.000°
96.7 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
2155 / 1 / 156

Goodness-of-fit on F2
0.870

Final R indices [I>2sigma(I)]
R1 = 0.0749, wR2 = 0.1180

R indices (all data)
R1 = 0.2601, wR2 = 0.1692

Absolute structure parameter
-1.4(10)

Largest diff. peak and hole
0.189 and -0.156 e.Å-3
� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

