Crystal Structure Report for K. Goldberg
by Werner Kaminsky

Sample Submitted by Greg Fulmer 

ID – GRF010
X-ray Crystallography Laboratory

University of Washington

08. March 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless block, measuring 0.30 x 0.27 x 0.20 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 94.2% complete to 25o  in (.  A total of  16595 (merged) reflections were collected covering the indices, h = -17 to 17, k = -17 to 17,  l = -37 to 37 with Rint = 0.0547.  The raw data appeared twinned although the sample looked homogeneous. With cell_now
 a 180 twin rotation about (001) was found which, if unresolved, caused considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1  (No.2). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The two independent molecules of the asymmetric unit are related to each other by a pseudo mirror. The unit cell consists of a total of 4 molecules related by inversion symmetry.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<GRF010.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Identification code 
GRF010

Empirical formula 
C29 H54 O P2 Pd

Formula weight 
587.06

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 11.2995(3) Å
= 87.864(2)°

b = 11.4570(3) Å
= 89.5790(10)°

c = 25.5594(7) Å
 = 68.3870(10)°
Volume
3074.03(14) Å3
Z
4

Density (calculated)
1.268 Mg/m3
Absorption coefficient
0.726 mm-1
F(000)
1248

Crystal size
0.30 x 0.27 x 0.20 mm3
Theta range for data collection
1.59 to 33.38°
Index ranges
-16<=h<=16, -16<=k<=16, 0<=l<=37

Reflections collected
16595

Independent reflections
16595 [R(int) = 0.0547]

Completeness to theta = 25.00°
94.2 % 

Max. and min. transmission
0.8684 and 0.8116

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
16595 / 0 / 625

Goodness-of-fit on F2
1.032

Final R indices [I>2sigma(I)]
R1 = 0.0507, wR2 = 0.0767

R indices (all data)
R1 = 0.0948, wR2 = 0.0832

Largest diff. peak and hole
0.770 and -1.070 e.Å-3



� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





