Crystal Structure Report for J Mayer
by Werner Kaminsky

Sample Submitted by Adam Tenderholt 

ID – HOAr_CH2anth
X-ray Crystallography Laboratory

University of Washington

14. June 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless prism measuring 0.21 x 0.16 x 0.04 mm3 was mounted on a glass capillary with oil.  Data was collected at -163oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 2o.   Data collection was 100% complete to 25o  in (.  A total of  18368 (merged) reflections were collected covering the indices, h = -25 to 25, k = -13 to 13,  l = -26 to 32.  6106 reflections were symmetry independent and the Rint = 0.0436 indicated that the data was good (average quality 0.07).  Indexing and unit cell refinement indicated a C-centered monoclinic lattice.  The space group was found to be C 2/c  (No.15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The hydroxyl O1 is disordered, with the hydrogen occupying two positions which reflects the close-to-mirror symmetry of the atomic environment around the oxygen. The disorder may result in addition from relatively short H-H contacts and the lack of an acceptor atom for the hydroxyl. 
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]=17y

(30051 1)

PLATON-Jun 14 19:26:47 2011

N
|
—
nN
o

1

NOMOVE FORCED

RES=

Prob
Temp

0

noau
—
—J1
oo

-82 X





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level (showing hydroxyl disorder). 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C29 H32 O

Formula weight 
396.55

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c 
Unit cell dimensions
a = 19.0285(10) Å
= 90°.


b = 10.1821(5) Å
= 94.577(2)°.


c = 23.9432(12) Å
 = 90°.

Volume
4624.2(4) Å3
Z
8

Density (calculated)
1.139 Mg/m3
Absorption coefficient
0.067 mm-1
F(000)
1712

Crystal size
0.21 x 0.16 x 0.04 mm3
Theta range for data collection
1.71 to 29.06°.

Index ranges
-25<=h<=25, -13<=k<=13, -26<=l<=32

Reflections collected
18368

Independent reflections
6106 [R(int) = 0.0436]

Completeness to theta = 25.25°
100.0 % 

Max. and min. transmission
0.9973 and 0.9861

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
6106 / 0 / 274

Goodness-of-fit on F2
1.012

Final R indices [I>2sigma(I)]
R1 = 0.0564, wR2 = 0.1228

R indices (all data)
R1 = 0.1067, wR2 = 0.1449

Extinction coefficient
0.0007(2)

Largest diff. peak and hole
0.329 and -0.251 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





