Crystal Structure Report for K Goldberg

Submitted by Abby O’Conner 

Sample ID – IIA0_9_1

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

30. April 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black prism, 0.35 x 0.22 x 0.10 mm3 was mounted on a glass capillary with oil.  Data was collected at -143oC.

Crystal-to-detector distance was 35 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 2o.   Data collection was 98.4% complete to 25o  in (.  A total of  55496 partial and complete reflections were collected covering the indices, h = -37 to 37, k = -12 to 9,  l = -21 to 22.  10451 reflections were symmetry independent and the Rint = 0.1425 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing consisting of motives of the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The structure co-crystallized with one less defined THF solvent molecule. The rest of the dimeric structure is consistent with the chemistry leading to the compound.

The phenyl groups complexing with Rh2 exhibit extended C-C bonds (average C7 – C12 1.42 Å, C31 – C36 1.416 Å).

The structure is of high quality and ready for publication.




_1097643391.unknown

