Crystal Structure Report for K. Goldberg
by Werner Kaminsky

Sample Submitted by Abby O’Connor 

ID – IIIA0231_2b
X-ray Crystallography Laboratory

University of Washington

14. April 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A pale yellow piece, measuring 0.14 x 0.14 x 0.13 mm3 was mounted on a glass capillary with oil.  Data was collected at -163oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 98.4% complete to 25o  in (.  A total of  12066 (merged) symmetry independent reflections were collected covering the indices, h = -15 to 15, k = -15 to 15,  l = -0 to 24 with Rint = 0.0956 indicated that the data was problematic (average quality 0.07).  The raw data appeared twinned although the sample looked homogeneous. With cell_now
 a 179.5 twin rotation about [110] was found which, if unresolved, caused considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. Indexing and unit cell refinement indicated then a triclinic P lattice.  The space group was found to be P(1  (No.2). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
.  Additional twinning was found (two-fold axis about (2 2(1)) which further improve the refinement (BASF 0.13). Still the twin integration and possible decomposition prior to mounting the sample has left uncertainties in intensities that required removal of 200 bad reflections. The resulting R1 of  0.135 still remains unsatisfactory, however, the result is publishable.
Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The cyclo-octane agnostically binds through C25 and C26 to Rh with bond distances of  2.147(12)Å and 2.140(12)Å, respectively.
Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<IIIA0231_2b.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder of some fluorides omitted for clarity.
Table 1: Crystallographic data for the structures provided.

Identification code 
twin4

Empirical formula 
C66 H61 B Cl4 F24 P Rh

Formula weight 
1596.64

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 13.1012(5) Å
= 101.957(2)°.


b = 13.1289(5) Å
= 94.770(2)°.


c = 20.0938(8) Å
 = 95.252(2)°.

Volume
3348.5(2) Å3
Z
2

Density (calculated)
1.584 Mg/m3
Absorption coefficient
0.547 mm-1
F(000)
1612

Crystal size
0.14 x 0.14 x 0.13 mm3
Theta range for data collection
2.08 to 25.35°.

Index ranges
-15<=h<=15, -15<=k<=15, 0<=l<=24

Reflections collected
12066

Independent reflections
12066 [R(int) = 0.0956]

Completeness to theta = 25.00°
98.4 % 

Max. and min. transmission
0.9323 and 0.9274

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
12066 / 30 / 893

Goodness-of-fit on F2
0.989

Final R indices [I>2sigma(I)]
R1 = 0.1350, wR2 = 0.3351

R indices (all data)
R1 = 0.1480, wR2 = 0.3462

Largest diff. peak and hole
2.559 and -6.018 e.Å-3



� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





