Crystal Structure Report for 
Prof. James M. Mayer
Submitted by Ian Rhile
Sample ID – IR2210
by Antonio DiPasquale
X-ray Crystallography Laboratory

University of Washington

26. April 2004
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\mayer\ian\IR2210
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

A.DiPasquale:(206) 616-4212

(x-ray lab):     (206) 543-0210 

Email:
adipasqu@u.washington.edu
A colorless crystal prism, cut down in size to 0.14 × 0.14 × 0.14 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with one set of exposures as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):(     
      (
         (     
 ( 

1
      
(        
181.6


          
 3.703   -92.297   160.000     0.000      

Crystal-to-detector distance was 30 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 98.6% complete to 25.00o in (.  A total of 24,218 partial and complete reflections were collected covering the indices, h = -12 to 12, k = -37 to 40,

 l = -20 to 21.  8,771 reflections were symmetry independent and the Rint = 0.0805 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No.14). 

The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR-97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms, with the exception of hydroxyl and amine hydrogens, were placed using a riding model.  H(1), H(2), H(2A), H(3), and H(4) were all located from the difference map and their positions refined isotropically (See Table 7 for hydrogen bonding information).  All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).
The asymmetric unit consists of two molecules of the target complex plus one methanol molecule that participates in hydrogen bonding with the next adjacent asymmetric unit.  The tert-butyl groups attached to the 4 position on the phenol in both molecules in the asymmetric unit are rotationally disordered, which was successfully modeled by refining 6 carbon atoms, each with a 0.5 occupancy factor.  C(91), C(92), C(93), C(94), C(95), and C(97) have been hidden in the ORTEP diagrams, but represent the other half of the occupancy factor of the carbon atoms that are shown.



_1097643391.unknown

