Crystal Structure Report for 
Prof. James M. Mayer
Submitted by Ian Rhile
Sample ID – IR3026
by Antonio DiPasquale
X-ray Crystallography Laboratory

University of Washington

15. October 2004
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\mayer\ian\IR3026
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

A.DiPasquale:(206) 616-4212

(x-ray lab):     (206) 543-0210 

Email:
adipasqu@u.washington.edu
An orange crystal prism 0.72 × 0.48 × 0.48 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with four sets of exposures as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):(     
      (
         (     
 ( 

1
      
(        
183.0


          
 3.703    -1.500    160.000     0.000      

2

ω
86.5



 3.703 -145.904  -200.073   74.141
3

ω         76.5



 3.703
  94.096  -200.073    74.141

4

ω
61.5



 3.703   -25.904  -190.073   74.141
Crystal-to-detector distance was 30 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 2.0o.   Data collection was 99.3% complete to 25o in (.  A total of 20,146 partial and complete reflections were collected covering the indices, h = -10 to 12, k = -13 to 13,

 l = -20 to 20.  6,802 reflections were symmetry independent and the Rint = 0.0661 indicated that the data was of slightly better than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P -1 (No.2). 

The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR-97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms, with the exception of hydroxyl and imine hydrogens, were placed using a riding model. H(1) and H(1a) were located from the Fourier difference map and their locations refined isotropically. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).
Intramolecular hydrogen bonding is clearly evident between the phenol and imidazole substituents.  Also, intermolecular hydrogen bonding also exists between the nitrogen of the acetonitrile solvent molecule and the proton on the imidazole group.



_1097643391.unknown

