Crystal Structure Report for Alex Jen

by Dylan Rogers & Werner Kaminsky

Sample Submitted by Francis Lin 

ID – IT_4F

X-ray Crystallography Laboratory

University of Washington

12. July 2019
Data Collection  started: 6/21/2019
Documentation finished: 7/12/2019
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A black needle, measuring 0.36 x 0.06 x 0.04 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 1o.   Data collection was 99.4% complete to 25o  in (.  A total of  36340 reflections were collected covering the indices, -18<=h<=18, -21<=k<=21, -25<=l<=25.  18300 reflections were symmetry independent and the Rint = 0.4816 indicated that the data was problematic.  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No. 2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 The contribution of disordered chloroform and possible acetone solvent to the diffraction pattern was removed with SQUEEZE

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The asymmetric unit contains two half chromophores with disordered alkene chains. Inversion symmetry completes the molecules.

The value of Rint is greater than 0.25 because the crystals grew as thin easily bending needles with small scattering capability and few heavy atoms per organic framework. We think that mostly the crystal bend is responsible for the high Rint etc. However, we believe to have worked out a valid crystal model with accurate bond distances and angles. Soft restraints were applied to displacement parameters and equivalent moiety geometries because of that extensive alkene chain disorder.
The structure is of a sufficient quality for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder / solvent omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C94 H78 F4 N4 O2 S4

Formula weight 
1499.84

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 15.533(6) Å
= 100.436(13)°.


b = 17.735(7) Å
= 111.562(13)°.


c = 21.067(9) Å
 = 99.507(12)°.

Volume
5135(4) Å3
Z
2

Density (calculated)
0.970 Mg/m3
Absorption coefficient
0.140 mm-1
F(000)
1572

Crystal size
0.360 x 0.060 x 0.040 mm3
Theta range for data collection
1.390 to 25.155°.

Index ranges
-18<=h<=18, -21<=k<=21, -25<=l<=25

Reflections collected
36340

Independent reflections
18300 [R(int) = 0.4816]

Completeness to theta = 25.000°
99.4 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
18300 / 1409 / 1052

Goodness-of-fit on F2
0.893

Final R indices [I>2sigma(I)]
R1 = 0.1455, wR2 = 0.3253

R indices (all data)
R1 = 0.3955, wR2 = 0.4563

Extinction coefficient
0.0087(14)

Largest diff. peak and hole
0.891 and -0.445 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





