Crystal Structure Report for M Heinekey
by Werner Kaminsky

Sample Submitted by Jon Egbert 

ID – JDECr
X-ray Crystallography Laboratory

University of Washington

03. November 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A pale yellow ideomorphic prism, measuring 0.26 x 0.24 x 0.20 mm3 was mounted on a glass capillary with oil.  Data was collected at -143oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 30 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 2o.   Data collection was 96.1% complete to 28.33o and 99.9% complete to 25o  in (.  A total of  23781 partial and complete reflections were collected covering the indices, h = -11 to 12, k = -14 to 14,  l = -14 to 14.  4159 reflections were symmetry independent and the Rint = 0.0460 indicated that the data was excellent (average quality 0.07).  Indexing and unit cell refinement indicated a primitive triclinic lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<JDECr>
Figure 1. ORTEP of the structure with thermal ellipsoids are at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

	Property
	The structure at 130(2) K

	Empirical Formula
	C18 H24 Cr O3

	Formula Weight
	340.37

	Temperature K
	130(2)

	Wavelength Å
	0.71073

	Habit/color
	Prism / pale yellow

	Crystal System, space group
	Triclinic,  P(1  (No. 2)

	Unit Cell Dimensions
	

	a, Å

b, Å

c, Å

(, (deg.) 

(, (deg.) 

(, (deg.) 
	8.9952(5) 

10.9209(7) 

11.0560(8) 

118.903(3) 

99.982(3) 

103.660(2)

	Volume (Å3)
	869.56(10)

	Density Mg/m3
	1.300

	Reflections Collected/Unique
	6683 / 4159

	Rint / R
	0.0460 / 0.0750

	(m / completeness
	25o / 99.9%

	Final R indices [I>2((I)]
	

	R1, wR2
	0.0429, 0.0909

	R indices (all data)
	

	R1, wR2
	0.0642, 0.0984





� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

