Crystal Structure Report for M. Heinekey
by Werner Kaminsky

Sample Submitted by Jon Egbert 

ID – JDEMo1
X-ray Crystallography Laboratory

University of Washington

16. February 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black prism, measuring 0.17 x 0.17 x 0.10 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 99.2% complete to 30.57o and 100% complete to 25o  in (.  A total of  37273 (merged) reflections were collected covering the indices, h = -15 to 16, k = -21 to 22,  l = -26 to 26.  10033 reflections were symmetry independent and the Rint = 0.0217 indicated that the data was superb (average quality 0.07).  Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c  (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The coordinates of the bridging hydrogen atoms within this Mo-complex dimer are refined with isotropic thermal parameters.
The stability of the refinement and the overall consistent thermal parameters of the bridging hydrogen atoms and that of the complex indicate correct assignment of elements.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<JDEMo1.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Identification code 
jdemo1_0m

Empirical formula 
C34 H50 Mo2 O4

Formula weight 
714.62

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/c

Unit cell dimensions
a = 11.2732(3) Å
= 90°.


b = 15.6169(4) Å
= 91.6610(10)°.


c = 18.6994(4) Å
 = 90°.

Volume
3290.69(14) Å3
Z
4

Density (calculated)
1.442 Mg/m3
Absorption coefficient
0.796 mm-1
F(000)
1480

Crystal size
0.17 x 0.17 x 0.10 mm3
Theta range for data collection
1.70 to 30.57°
Index ranges
-15<=h<=16, -21<=k<=22, -26<=l<=26

Reflections collected
37273

Independent reflections
10033 [R(int) = 0.0217]

Completeness to theta = 25.00°
100.0 % 

Absorption correction
Semi-empirical from equivalents

Max. and min. transmission
0.9246 and 0.8765

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
10033 / 0 / 381

Goodness-of-fit on F2
1.001

Final R indices [I>2sigma(I)]
R1 = 0.0205, wR2 = 0.0512

R indices (all data)
R1 = 0.0255, wR2 = 0.0543

Largest diff. peak and hole
0.624 and -0.399 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





