Crystal Structure Report for M Heinekey
Sample by Jon Egbert 

ID – JDEPd1
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

14. October 2008
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A green prism 0.56 x 0.48 x 0.36 mm3 of size, was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 30 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 1.7o.   Data collection was 95.6% complete to 28.28o and 99.2% complete to 25o in (.  A total of 73501 partial and complete reflections were collected covering the indices, h = -17 to 17, k = -23 to 23,  l = -28 to 28.  10139 reflections were symmetry independent and the Rint = 0.0472 indicated that the data was of much better than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No 14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms, except those on the palladium atom were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The two hydrogen atoms on Pd where located from the rest electron density map. They are refined freely with isotropic thermal parameters. The location of the hydrogen atoms coincides with free voids surrounding the Pd metal. The square planar coordination sphere is slightly distorted due to hindrance. The environments of the hydrogen atoms are different; hence, their thermal parameters and bond distance to Pd are different as well. Between cyclohxanes of neighboring molecules are larger voids filled with tiny amounts of electron density associated with unidentified impurities of the scattering size of a bit more than a hydrogen atom, but despite this, this turned out to be an excellent structure, ready for publication.



_1097643391.unknown

