Crystal Structure Report for K Goldberg
by Werner Kaminsky

Sample Submitted by Jason Prantner 

ID – JDPIV3
X-ray Crystallography Laboratory

University of Washington

29. July 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A small colorless block, measuring 0.17 x 0.15 x 0.07 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 99.8% complete to 25o  in (.  A total of  210790 (merged) reflections were collected covering the indices, h = -20 to 20, k = -33 to 33,  l = -30 to 37.  26206 reflections were symmetry independent and the Rint = 0.1192 indicated that the data was slightly of less than average quality (0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c  (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The platinum complex builds a salt structure with 6 potassium atoms in the center
[image: image1.jpg]


 

with four symmetry equivalent groups

[image: image2.jpg]



which are surrounded by 6 complexes with the CO2- groups pointing invards to the center of this spherical arrangement to balance charges with the potassiums.

[image: image3.jpg]



The voids left between the spheres are filled with 4 THF solvent molecules distributed over 6 sites.

[image: image4.jpg]


.

Below a figure shows an ORTEP
 of one complex representative of all 6.

[image: image5.jpg]



The structure is of acceptable quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 of the asymmetric unit.
Table 1: Crystallographic data for the structures provided.

Identification code 
new

Empirical formula 
C100 H158 K6 N24 O16 Pt6

Formula weight 
3357.64

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 1 21/c 1

Unit cell dimensions
a = 16.1160(4) Å
= 90°.


b = 26.5699(6) Å
= 96.6080(10)°.


c = 29.9824(6) Å
 = 90°.

Volume
12753.2(5) Å3
Z
4

Density (calculated)
1.749 Mg/m3
Absorption coefficient
6.817 mm-1
F(000)
6544

Crystal size
0.17 x 0.15 x 0.07 mm3
Theta range for data collection
1.92 to 26.48°.

Index ranges
-20<=h<=20, -33<=k<=33, -30<=l<=37

Reflections collected
210790

Independent reflections
26206 [R(int) = 0.1192]

Completeness to theta = 25.00°
99.8 % 

Max. and min. transmission
0.6469 and 0.3903

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
26206 / 204 / 1450

Goodness-of-fit on F2
1.070

Final R indices [I>2sigma(I)]
R1 = 0.0739, wR2 = 0.1429

R indices (all data)
R1 = 0.1457, wR2 = 0.1760

Largest diff. peak and hole
3.439 and -2.648 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





