Crystal Structure Report for K. Goldberg
by Werner Kaminsky

Sample Submitted by Jason Prantner 

ID – JDPIV97
X-ray Crystallography Laboratory

University of Washington

10. December 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless needle, measuring 0.35 x 0.06 x 0.01 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 98.7% complete to 25o  in (.  A total of  50858 (merged) reflections were collected covering the indices, h = -16 to 16, k = -18 to 18,  l = -18 to 18.  9943 reflections were symmetry independent and the Rint = 0.0869 indicated that the data was of slightly less than  average quality (0.07).  Indexing and unit cell refinement indicated a triclinic  lattice.  The space group was found to be P(1  (No.2). The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
  Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Table 1.  Hydrogen bonds for jdpiv97 [Å and °].

____________________________________________________________________________

D-H...A
d(D-H)
d(H...A)
d(D...A)
<(DHA)

____________________________________________________________________________

 O(1)-H(1O)...O(7)#2
0.84
1.98
2.783(8)
159.5

 O(2)-H(2O)...O(8)#2
0.84
2.12
2.933(8)
161.8

 O(3)-H(3O)...O(6)
0.84
1.84
2.676(7)
177.2

 O(6)-H(6O)...O(3)#2
0.84
2.00
2.751(8)
148.0

 O(7)-H(7O)...F(2)
0.84
2.00
2.820(9)
166.8

 O(8)-H(8O)...O(1)#2
0.84
2.05
2.885(9)
169.9

 O(11)-H(11)...O(2)
0.84
2.02
2.794(8)
152.6

 O(11)-H(11)...O(10)#1
0.84
2.45
2.931(9)
117.5

____________________________________________________________________________

Symmetry transformations used to generate equivalent atoms: 

#1 -x,-y+1,-z+1    #2 -x+1,-y+1,-z+1 

Two Pt-complex hydrogen bonds with two symmetry related complexes, 2 NaBF4 and 2 ethanol solvent molecules to form one quatromer per unit cell. The quatromers exhibit multiple inter and intramolecular hydrogen bonds (Table 1).
The structure is of high quality and ready for publication. Table 2 summarizes the data collection details. Figure 1 shows an ORTEP
 of the unti cell unit.
[image: image1.png]-44 Y

- (221010)

16 2010

PLATON-Dec 10 21:48:

N
—
o~
[@¢]

NOMOVE FORCED

Prob

dpt v97

P -1

R =0.05

RES=

noau
—
Oul
oo

-80 X





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level

Table 2: Crystallographic data for the structures provided.

Identification code 
jdpiv97

Empirical formula 
C50 H80 B2 F8 N16 Na2 O22 Pt4

Formula weight 
2257.26

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P(1  
Unit cell dimensions
a = 11.5999(6) Å
= 111.502(4)°.


b = 12.7950(6) Å
= 107.062(4)°.


c = 13.2756(11) Å
 = 98.866(3)°.

Volume
1675.00(18) Å3
Z
1

Density (calculated)
2.238 Mg/m3
Absorption coefficient
8.448 mm-1
F(000)
1084

Crystal size
0.35 x 0.06 x 0.01 mm3
Theta range for data collection
1.78 to 30.51°.

Index ranges
-16<=h<=16, -18<=k<=18, -18<=l<=18

Reflections collected
50858

Independent reflections
9943 [R(int) = 0.0869]

Completeness to theta = 25.00°
98.7 % 

Max. and min. transmission
0.9203 and 0.1560

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
9943 / 0 / 489

Goodness-of-fit on F2
1.020

Final R indices [I>2sigma(I)]
R1 = 0.0486, wR2 = 0.1101

R indices (all data)
R1 = 0.0812, wR2 = 0.1284

Largest diff. peak and hole
2.908 and -3.505 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





