Crystal Structure Report for 
John Gilbertson
by Werner Kaminsky

ID – JG01c
X-ray Crystallography Laboratory

University of Washington

11. July 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brown plate, measuring 0.35 x 0.17 x 0.07 mm3 was mounted on a loop with oil.  Data was collected at -133oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99% complete to 25o  in (.  A total of  53475 reflections were collected covering the indices, h = -71 to 71, k = -10 to 10,  l = -31 to 31.  11794 reflections were symmetry independent and the Rint = 0.0973 indicated that the data was of slightly less than average quality (0.07).  Indexing and unit cell refinement indicated a C – centered monoclinic lattice.  The space group was found to be C 2/c  (No.15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Extensive disorder of pentane and ethyl alcohol impose disorder in one of the two independent molecules of the asymmetric unit. A high R1 value and unusually large second weighting parameter indicate that some amount of twinning is present which could not be resolved.
The structure is of a quality just acceptable for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder and solvents omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C123.61 H159.83 Br8 Fe4 N12 O5.31

Formula weight 
2761.34

Temperature 
140(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c
Unit cell dimensions
a = 59.446(4) Å
= 90°.


b = 8.5306(6) Å
= 102.078(4)°.


c = 26.227(2) Å
 = 90°.

Volume
13005.3(16) Å3
Z
4

Density (calculated)
1.410 Mg/m3
Absorption coefficient
2.949 mm-1
F(000)
5648

Crystal size
0.35 x 0.17 x 0.07 mm3
Theta range for data collection
2.92 to 25.35°.

Index ranges
-71<=h<=71, -10<=k<=10, -31<=l<=31

Reflections collected
53475

Independent reflections
11794 [R(int) = 0.0973]

Completeness to theta = 25.35°
99.0 % 

Max. and min. transmission
0.8202 and 0.4250

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
11794 / 66 / 750

Goodness-of-fit on F2
1.118

Final R indices [I>2sigma(I)]
R1 = 0.0871, wR2 = 0.1899

R indices (all data)
R1 = 0.1320, wR2 = 0.2150

Largest diff. peak and hole
2.368 and -0.715 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





