Crystal Structure Report for M Heinekey

Submitted by Joe Meredith 

Sample ID – JJM01068

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A prism,  0.3 x 0.2 x 0.1 mm of size was mounted on a glass capillary with oil.  Data was collected at -143oC.

Crystal-to-detector distance was 30 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 2o.   Data collection was 98.2% complete to 25o  in (.  A total of  38850 partial and complete reflections were collected covering the indices, h = -15 to 14, k = -14 to 16,  l = -16 to 16.  6868 reflections were symmetry independent and the Rint = 0.1324 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The structure turned out to be quite the same as JDE001, but the triclinic lattice is in a different setting and thus was not recognized to be similar during indexing. If there are differences between the structures, they are minute and may have resulted from different hydrogen contents. The b and c axes in JJM1068 are of very similar length and small changes here (within the statistical limits) could well have caused the software to choose different triclinic settings.


JDE001 lattice

_cell_length_a                    11.2086(4) 

_cell_length_b                    12.7312(6) 

_cell_length_c                    13.1486(6) 

_cell_angle_alpha                 82.990(2) 

_cell_angle_beta                  65.3380(18) 

_cell_angle_gamma                 87.556(3) 

_cell_volume                      1692.33(13)

JJM1068 lattice

_cell_length_a                    11.6223(6) 

_cell_length_b                    12.6854(7) 

_cell_length_c                    12.6979(8) 

_cell_angle_alpha                 95.189(2) 

_cell_angle_beta                  95.861(2) 

_cell_angle_gamma                 113.155(3) 

_cell_volume                      1694.80(17)



_1097643391.unknown

