Crystal Structure Report for M Heinekey

by Werner Kaminsky

Sample by Joe Meredith 

Sample ID – JMM02047

X-ray Crystallography Laboratory

University of Washington

09. September 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A pale brown prism, 0.48 x 0.40 x 0.31 mm3 of size, was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 30 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 1.2o.   Data collection was 99.3% complete to 25o  in (.  A total of  62532 partial and complete reflections were collected covering the indices, h = -11 to 12, k = -20 to 20,  l = -32 to 32.  4139 reflections were symmetry independent and the Rint = 0.0543 indicated that the data was of excellent quality (0.07). 

Indexing and unit cell refinement indicated an orthorhombic P lattice.  The space group was found to be P b c a (No. 61). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The structure turned out well (considering the lengthy repair and still unsolved camera problems that forced us to change the clock frequency of the detector to clean up the CCD image). Final R1 is 3.71%. The structure is ready for publication.




_1097643391.unknown

