Crystal Structure Report for M. Heinekey

by Werner Kaminsky

Sample Submitted by J. M. Goldberg 

ID – JMG_A_50
X-ray Crystallography Laboratory

University of Washington

08. August 2013
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless prism, measuring 0.60 x 0.12 x 0.10 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.9% complete to 25o  in (.  A total of  157716 reflections were collected covering the indices, h = -15 to 15, k = -27 to 27,  l = -18 to 18.  7979 reflections were symmetry independent and the Rint = 0.0349 indicated that the data was of better than average quality (0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The complex crystallized out together with one disorderd CH2Cl2 solvent and one BF4- anion. Hydrogen H1i was refined with isotropic displacement parameter, possible due to very high data quality (R1 =  1.47%).
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C25 H42 B Cl2 F4 Ir O4 P2

Formula weight 
818.44

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/n

Unit cell dimensions
a = 11.313(2) Å
= 90°.


b = 20.531(4) Å
= 105.506(8)°.


c = 14.041(2) Å
 = 90°.

Volume
3142.7(9) Å3
Z
4

Density (calculated)
1.730 Mg/m3
Absorption coefficient
4.573 mm-1
F(000)
1624

Crystal size
0.60 x 0.12 x 0.10 mm3
Theta range for data collection
1.80 to 28.59°.

Index ranges
-15<=h<=15, -27<=k<=27, -18<=l<=18

Reflections collected
157716

Independent reflections
7979 [R(int) = 0.0349]

Completeness to theta = 25.00°
99.9 % 

Max. and min. transmission
0.6577 and 0.1700

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
7979 / 21 / 395

Goodness-of-fit on F2
1.089

Final R indices [I>2sigma(I)]
R1 = 0.0147, wR2 = 0.0360

R indices (all data)
R1 = 0.0169, wR2 = 0.0377

Largest diff. peak and hole
0.842 and -0.799 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





