Crystal Structure Report for M. Heinekey

by Betsy Flowers and Werner Kaminsky

Sample Submitted by Jonathan Goldberg 

ID – JMG_B_63

X-ray Crystallography Laboratory

University of Washington

12. January 2015
Data Collection  started: 12/29/2014
Documentation finished: 1/12/2015
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brown piece, measuring 0.10 x 0.08 x 0.01 mm3 was mounted on a loop with oil.  Data was collected at -153oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 1o.   Data collection was 62.5% complete to 25o  in ( because of a cryostate failure.  A total of  20675 reflections were collected covering the indices, h = -7 to 8, k = -14 to 14,  l = -45 to 45.  4393 reflections were symmetry independent and the Rint = 0.0801 indicated that the data was of moderate  quality (0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No.14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure solution resulted in a model of the proposed compound, but with significant rest electron densities, of which one was identified as a single iodine of partial occupancy of 8% bound to Ir opposite to the phenyl. A mixed or impure compound may possibly be responsible for a rather poor refinement statistic.
It is not recommended to publish this structure. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C25.91 H46 Cl2 I4 Ir N O2.91 P2

Formula weight 
1250.76

Temperature 
120(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/n

Unit cell dimensions
a = 8.1241(7) Å
= 90°.


b = 12.7354(9) Å
= 93.309(5)°.


c = 37.645(3) Å
 = 90°.

Volume
3888.4(5) Å3
Z
4

Density (calculated)
2.137 Mg/m3
Absorption coefficient
6.855 mm-1
F(000)
2339

Crystal size
0.10 x 0.08 x 0.01 mm3
Theta range for data collection
1.93 to 25.56°.

Index ranges
-7<=h<=8, -14<=k<=14, -45<=l<=45

Reflections collected
20675

Independent reflections
4393 [R(int) = 0.0801]

Completeness to theta = 25.00°
62.5 % 

Max. and min. transmission
0.9346 and 0.5473

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
4393 / 192 / 370

Goodness-of-fit on F2
1.027

Final R indices [I>2sigma(I)]
R1 = 0.0955, wR2 = 0.1830

R indices (all data)
R1 = 0.1421, wR2 = 0.2053

Largest diff. peak and hole
3.220 and -2.616 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





