Crystal Structure Report for J Mayer
Submitted by Jessica Hoover 

Sample ID – JMHIII083
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

03. October 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A yellow prism, size 0.24 x 0.12 x 0.10 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
152.5
160  
 0 

2
      
(        
86.5




3.70
94.1
-200.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 50 seconds per degree for all sets.  The scan width was 2o.   Data collection was 87.7% complete to 25.45o and 88.3% complete to 25o  in (.  A total of  54962 partial and complete reflections were collected covering the indices, h = -8 to 9, k = -18 to 17,  l = -18 to 18.  2932 reflections were symmetry independent and the Rint = 0.2258 indicated that the data was of much less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No. 14) 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (schelxs97) produced a complete heavy atom phasing model consistent with motives of the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The crystals were heavily interleaved and twinned. As a result, the best of the  fragile small pieces prepared out of the conglomerates did not scatter well. However, the result is of interest as it shows a different than the expected reaction. The reduced quality of the data manifests itself in the use of restraints and constraints to get the model converge to the structure on the right. The two rings are constrained to perfect geometry. Some thermal parameters were restraint C11, C13, C14, C15. 
The chloride hydrogen-bonds to the nitrogen N1. The cif file was edited for being suited for publication, however, a new batch of samples may help in that matter if a more suitable sample can be found. 



_1097643391.unknown

