Crystal Structure Report for M Heinekey
by Werner Kaminsky

Sample Submitted by Joe Meredith 

ID – JMM02099
X-ray Crystallography Laboratory

University of Washington

16. February 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red prism, measuring 0.30 x 0.15 x 0.10 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 99.3% complete to 30.55o and 99.8% complete to 25o  in (.  A total of  81185 (merged) reflections were collected covering the indices, h = -16 to 16, k = -18 to 18,  l = -21 to 21.  11323 reflections were symmetry independent and the Rint = 0.0234 indicated that the data was brilliant (average quality 0.07).  Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The Ir complex dimerises via a distorted phenyl bridge (C16-C18 + inversion symmetry related carbon atoms completing the phenyl ring). The atomic coordinates of the aromatric hydrogen atoms of the phenyl bridge were refined with isotropic thermal parameters at 1.2Ueq of their parent atoms Ueq parameters. Some residual electron density close to the Ir atoms was left in the refinement with a final R1 of  2.34%.
The unit cell contains one charged dimer accompanied by 2 [MeB(C6F5)3 ]- and two CH2Cl2 solvent molecules.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<JMM02099.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Table 1.  Crystal data and structure refinement for jmm02099_0m.

Identification code 
jmm02099_0m

Empirical formula 
C76 H62 B2 Cl4 F30 Ir2 N4

Formula weight 
2149.12

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 11.2424(4) Å
= 109.9040(10)°.


b = 13.1663(4) Å
= 104.465(2)°.


c = 14.8575(5) Å
 = 104.612(2)°.

Volume
1859.81(11) Å3
Z
1

Density (calculated)
1.919 Mg/m3
Absorption coefficient
3.842 mm-1
F(000)
1048

Crystal size
0.30 x 0.15 x 0.10 mm3
Theta range for data collection
1.57 to 30.55°
Index ranges
-16<=h<=16, -18<=k<=18, -21<=l<=21

Reflections collected
81185

Independent reflections
11323 [R(int) = 0.0234]

Completeness to theta = 25.00°
99.8 % 

Max. and min. transmission
0.6999 and 0.3919

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
11323 / 0 / 549

Goodness-of-fit on F2
1.000

Final R indices [I>2sigma(I)]
R1 = 0.0134, wR2 = 0.0351

R indices (all data)
R1 = 0.0144, wR2 = 0.0357

Largest diff. peak and hole
2.242 and -0.557 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





