Crystal Structure Report for J Mayer
Sample by Jessica Hoover 

ID – JMM1x
by Werner Kaminsky & Rodney Swartz
X-ray Crystallography Laboratory

University of Washington

28. October 2008
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A dark prism, 0.2 x 0.15 x 0.1 mm3 of estimated size was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 37.1 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 2o.   Data collection was 96.6% complete to 25o  in (.  A total of  22364 partial and complete reflections were collected covering the indices, h = -25 to 25, k = -9 to 10,  l = -33 to 33.  4398 reflections were symmetry independent and the Rint = 0.37 indicated that the data was lausy (average quality 0.07) as a result of the camera electronic being on the virtue of breaking down which it eventually did during the measurement and not all data obtained was usable.. 

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be C 2/c (No. 15). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model somewhat consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Despite the trouble obtaining data, the structure turns out to be of publishable quality (just). Some restraints had to be applied to the thermal parameters of a number of atoms to avoid non-postive definite ellipsoids. The molecule has almost perfect C2v symmetry which does not coincide with any crystallographic symmetry of the lattice.



_1097643391.unknown

